## Slide 1
_______________
Dental Clinic Project
January 2021
_______________

## Slide 2: Dental Clinic Project
2 objectives of the Dental Clinic’s renovations:
Replacement of pipes and suction system
  Due to the end of life of the components
  Disintegration Original type of piping
  Addition of dedicated permanent cubicle and ventilation, due to new standards:
    Ventilation System (LAN CHI la raison exacte)
    HEPA unit in each cubicle
    Permanent cubicle adapt for ODA

## Slide 3: Dental Clinic Project
Original layout (21 station)

## Slide 4: Dental Clinic Project
Original layout (21 station)

## Slide 5: Dental Clinic Project
Replacing the suction system

## Slide 6: Dental Clinic Project
Replacing the suction system

## Slide 7: Dental Clinic Project
New floor wax free

## Slide 8: Dental Clinic Project
Prefabricated cubicle assembly

## Slide 9: Dental Clinic Project
Ventilation and filtration system
Two dedicated heat pumps
6 to 7 air exchanges per hour
Return duct (not in the ceiling)
HEPA filtration units in each cabin -

## Slide 10: Dental Clinic Project
Reinstallation of existing cabinet

## Slide 11: Dental Clinic Project
Challenges
Timeline: 9 weeks including the holiday season
Courses: continuously rescheduled
Noisy work
Gather the right partners
Costs

## Slide 12: PROJET CLINIQUE DENTAIRE
Final Product

## Slide 13: Dental Clinic Project
Things to fix
Old return air
Fire alarm
Noise in the cabins

## Slide 14: Dental Clinic Project
Final Layout

## Slide 15: Dental Clinic Project
Final Layout